## Slide 1: An User-friendly body posture recognizing and guiding system for accurate health care test results
Batch Number: CCS-G15
Under the Supervision of,
Ms.Sterlin Minish T N
Assistant Professor
School of Computer Science and Engineering
Presidency University
CSE7301 Capstone Project
Final Viva Voce
Name of the Program: COMPUTER SCIENCE AND ENGINEERING - CYBER SECURITY
Name of the HoD: Dr. Ananda Raj S P
Name of the Program Project Coordinator: Dr. Sharmasth Vali Y
Name of the School Project Coordinators: Dr. Sampath A K / Dr. Abdul Khadar A / Mr. Md Ziaur Rahman
Roll Number | Student Name
20211CCS0124 | SANKETH S
20211CCS0133 | MOHAN C V
20211CCS0140 | MANU K
20211CCS0158 | SHAUN FRANKLYN
20211CCS0190 | V VISHWA KIRAN REDDY

## Slide 2: Introduction
In today’s fast-paced world, self-service health monitoring systems, such as wellness KIOSKs, are gaining popularity. These KIOSKs provide a convenient and accessible way for users to measure vital health parameters like Body Mass Index (BMI), Bone Mass Composition (BMC), Blood Pressure (BP), Electrocardiogram (ECG), pulse, and temperature without the need for professional assistance.
One key challenge with these systems is that accurate measurements depend heavily on the user's body posture. Even slight misalignments, such as an arm positioned incorrectly during a BP measurement, can lead to inaccurate results.
Our project addresses this issue by integrating an advanced posture detection system into the wellness KIOSK. Using a camera and image processing technology, the system captures and analyzes the user’s posture in real time, ensuring the correct posture for each health test. By providing immediate feedback and guidance, the system helps users achieve accurate and reliable measurements.

## Slide 3: Literature Review
Sl No | Title | Content
1 | Damien Brulin, Yannick Benezeth, and Estelle Courtial, “Posture Recognition Based on Fuzzy Logic for Home Monitoring of the Elderly”, in IEEE TRANSACTIONS ON INFORMATION TECHNOLOGY IN BIOMEDICINE, VOL. 16, NO. 5, SEPTEMBER 2012 | The proposed system performs human detection prior to the posture analysis; posture recognition is performed only on a human silhouette.The posture recognition method, based on fuzzy logic, identifies four static postures and is robust to variation in the distance between the camera and the person, andto the person’s morphology.
2 | Biljana Cvetkoska, Ninoslav Marina, Dijana Capeska Bogatinoska, Zhanko Mitreski, “Smart Mirror E-health Assistant – Posture Analyze Algorithm” , in IEEE EUROCON 2017, 6–8 JULY 2017, OHRID, R. MACEDONIA | This Model consists of a smart mirror which works on its own algorithm and behaves as smart assistant. This proposed model uses face recognition authentication, posture problem detection, and proper posture guidance, followed with suggestions for preventive healthcare. The algorithm identifies the person’s posture and carefully analyses the posture and body changes over time.

## Slide 4
Sl No | Title | Content
3 | Jheanel Estrada, Larry Vea, “Sitting Posture Recognition for Computer Users using Smartphones and a Web Camera”, in Proc. of the 2017 IEEE Region 10 Conference (TENCON), Malaysia, November 5-8, 2017 | Recognize proper / improper sitting postures using accelerometer readings from some human spinal points through small, thin, and lightweight smartphones attached at those points, and by using a web camera which detects the upper body points’ location and distances. It also established relationships of human body frames and proper sitting posture
4 | Chia-Feng Juang, Chung-Wei Liang, Chiung-Ling Lee,I-Fang Chung, “Vision-based Human Body Posture Recognition Using Support Vector Machines” ,in 978-1-4673-2112-9/12/$31.00 ©2012 IEEE | Vision-based human posture recognition method using a support vector machine (SVM) classifier. Recognition of four main body postures two cameras are used to capture two sets of image sequences at the same time. After capturing the image sequences, a RGB-based moving object segmentation algorithm is used to distinguish the human body from background. Two complete and corresponding silhouettes of the human body are obtained. The Discrete Fourier Transform (DFT) coefficients and length-width ratio are calculated from horizontal and vertical projections of each silhouette. Finally, these features are fed to a Gaussian-kernel-based SVM to recognize postures. Experimental results show that the proposed method achieves a high recognition rate.

## Slide 5
Sl No | Title | Content
5 | Ling Xie, Xiao Guo, “Object Detection and Analysis of Human Body Postures Based on TensorFlow” , in 2019 IEEE International Conference on Smart Internet of Things (SmartIoT) | Human pose estimation algorithm called OpenPose has been more widely used. But its efficiency is very low. We used deep learning methods based on TensorFlow to recognize human body postures.designed eight sets(MobileNet V2,Inception V2,Inception V2, ResNet101,ResNet152, Inception_ResNet_v2,YOLO) of experimental schemes through combining the classification model and the detection algorithm.

## Slide 6: Existing method Drawback
Environmental Dependency: Many models rely heavily on controlled environments for accurate performance. Variations in lighting, background, and occlusions can significantly affect their reliability.
User Comfort and Compliance: Wearable devices, while effective for some applications, can be intrusive or uncomfortable for users, particularly for the elderly or those with disabilities.
Data Requirements: Deep learning models typically require large amounts of labeled data for training, which can be difficult to obtain. This can result in models that are not well-tuned for specific user needs.
Accuracy and Generalization: While some models demonstrate high accuracy in controlled settings, their performance may degrade when applied to diverse populations or environments. This lack of generalization can limit their effectiveness in real-world applications.
Feature Extraction Complexity: Traditional machine learning approaches often require significant manual feature extraction, which can be both time-consuming and dependent on domain-specific knowledge. This can make it challenging to adapt models to different scenarios or user populations.

## Slide 7: Proposed Method
Body Posture Detection and Correction Using Mediapipe - Frontend Integration
Overview:
This document outlines the frontend integration of the body posture detection and correction system using JavaScript, React, HTML, and CSS. The frontend interacts with the backend (already built) to provide a user-friendly interface for posture correction during health tests at the self-service wellness KIOSK. The goal is to guide users into the correct posture for accurate readings during BMI, BP, ECG, and other health assessments.
Key Features:
Real-time Video Stream Integration: Captures the user's video stream using the browser's camera API and displays it within the KIOSK interface.
Mediapipe Landmark Overlay: Overlays the detected body landmarks (from the backend) onto the video stream in real-time, visualizing the posture analysis.
Posture Guidance Display: Presents clear visual cues (e.g., arrows, highlights) and textual instructions to guide the user towards the correct posture. These cues are triggered by the backend's posture deviation analysis.
Test-Specific Posture Prompts: Displays instructions and visual examples of the ideal posture for each selected health test (BMI, BP, ECG, etc.).
User Feedback Mechanisms: Provides real-time feedback (visual and potentially audio) based on posture analysis. This feedback helps users understand and correct their posture.
Interactive UI: A user-friendly interface that allows users to select tests, initiate posture checks, and receive feedback.
Communication with Backend: Establishes communication with the backend to receive posture analysis data and send user-selected test information.

## Slide 8: Proposed Method
Frontend Implementation Details:
Video Capture: Uses the navigator.mediaDevices.getUserMedia API to access the user's camera and stream the video feed.
Canvas Integration: A <canvas> element is used to overlay the Mediapipe landmarks and guidance cues onto the video stream.
React Components: React components are used to manage the UI elements, video stream, canvas rendering, and communication with the backend.
Backend Communication: Fetches posture analysis data from the backend via API calls (e.g., using fetch or axios). Sends user test selection information to the backend.
Posture Guidance Logic: Implements logic to translate the backend's posture deviation data into visual and textual guidance for the user. This includes displaying arrows, highlighting body parts, and providing descriptive instructions.
UI Design: Uses HTML and CSS to create a clean and intuitive user interface. Considers accessibility guidelines for optimal user experience.
State Management: Utilizes React's state management capabilities (e.g., useState, useContext) to manage the application's data and UI updates.

## Slide 9
Example Workflow:
User selects a health test (e.g., BMI) on the KIOSK interface.
The frontend sends the test selection to the backend.
The backend provides the frontend with the reference posture for the selected test.
The frontend starts capturing the video stream and sends frames to the backend for posture analysis.
The backend processes the frames using Mediapipe and sends back landmark data and posture deviation information.
The frontend overlays the landmarks on the video stream and displays posture correction guidance based on the backend's analysis.
The user adjusts their posture based on the feedback.
Once the posture is deemed correct by the backend, the frontend signals the user and the health test can proceed.
Technologies Used:
HTML
CSS
JavaScript
React
Mediapipe (for landmark detection - primarily handled by backend but visualized on the frontend)
Backend API (for communication)
This frontend implementation ensures a seamless and interactive user experience, guiding users towards correct postures for accurate health test results at the self-service wellness KIOSK.

## Slide 10: Objectives
Develop a Non-Assisted Wellness Kiosk: Design and implement a self-service wellness kiosk enabling users to independently measure vital health parameters (BMI, BMC, BP, ECG, Pulse, Temperature).
Ensure Accurate Health Measurements: Improve the accuracy of vital health measurements by guiding users to adopt correct body postures using real-time image processing and posture analysis.
Utilize Mediapipe for Posture Detection: Leverage the Mediapipe framework to detect key body landmarks and ensure users maintain correct posture during health tests.
Provide Real-Time Feedback: Develop a system analyzing user posture in real-time and providing immediate visual or auditory feedback to correct deviations from required posture for each health test.

## Slide 11
Enhance User Experience through Automation: Create a user-friendly, fully automated system for seamless operation, accurately guiding users without medical personnel assistance.
Implement a Flexible Posture Correction System: Develop a posture correction mechanism adaptable to various body types and health tests, providing tailored corrections based on individual deviations.
Improve Health Awareness: Promote better health awareness by educating users on the importance of correct posture during health tests, contributing to more accurate monitoring and healthier lifestyles.

## Slide 12: Methodology/Modules
Image Capture and Processing Module
Overview:
This module captures images of the user's posture using an integrated camera system and processes them using computer vision techniques.
Features:
Utilizes the Mediapipe framework for landmark detection of key body parts (e.g., hands, legs, torso).
Extracts posture-related features such as the angle of joints and alignment of body parts.
Posture Analysis and Guidance Module
Overview:
This module is responsible for analyzing the detected body landmarks to ensure that the user's posture is correct during the measurement process.
Features:
Reference Axis Calculation: A reference axis is established using the detected landmarks, and the system calculates the angle of deviation from the ideal posture.
Deviation Detection: If the posture deviates beyond a predefined threshold angle, the system provides visual and audio guidance to help the user correct it.
Feedback System: Real-time feedback loop that helps users adjust their posture before taking the measurement, ensuring accurate results.

## Slide 13: Architecture
Capture Frame
Pre-Process
Acquire Required Landmarks
Draw Landmarks and Connections
Check alignment for required test
Is Aligned
Display Warning
Posture Matched
Yes
No
Re-Check

## Slide 14: Hardware/software components
Software Components
Operating System : Windows 10 or Higher
Development Environment : Visual Studio Code,Jupyter Notebooks
Image Processing and Machine Learning : OpenCV, MediaPipe .
External Libraries and Dependencies : NumPy, Pandas, Keras.
Hardware Components
Camera: 720p HD Webcam.
Processor: Intel Core i3 or equivalent.
RAM: 4GB.

## Slide 15: Timeline of the Project (Gantt Chart)
Chart: Project Timeline
| Review-0 | Review-1 | Review-2 | Review-3 | Final Viva-voce
Start-Dates | 45686 | 45706 | 45733 | 45763 | 45787
Duration | 3 | 4 | 5 | 4 | 8

## Slide 16: Expected Outcomes
Accurate Vital Health Measurements: The system will ensure reliable and precise data collection for vital health parameters (BMI, BMC, BP, ECG, pulse, temperature).
Posture Correction Guidance: The system will detect and correct improper user posture during measurements, providing real-time feedback and guidance for accurate results.
Real-Time Feedback and Notifications: Users will receive immediate visual and/or auditory feedback on posture and vital measurements, including alerts for corrections or successful test completion.
Increased Measurement Accuracy: By ensuring correct posture, the system will minimize measurement errors, providing more reliable health data for analysis and decision-making.

## Slide 17: Conclusion
The development of a self-service wellness KIOSK, integrating posture correction guidance with vital health parameter measurement, represents a significant advancement in non-assisted health monitoring. This KIOSK leverages the Mediapipe framework, primarily within its backend processing, for robust posture detection. The frontend then visualizes the results of this analysis, ensuring users maintain the correct posture during tests, leading to more accurate health data.
Specifically, the frontend incorporates a real-time video stream captured via the user's device camera. Mediapipe landmarks, calculated by the backend, are overlaid onto this stream, providing a visual representation of the user's posture. The frontend also displays real-time feedback and correction prompts, driven by the backend's posture analysis.
This feedback can take the form of visual cues (e.g., arrows, highlights) and textual instructions, guiding users toward the correct positioning for each specific health test. This combined backend-frontend approach enhances the user experience, enabling individuals to perform measurements independently, increasing accessibility and convenience while ensuring data accuracy.

## Slide 18: Github Link
https://github.com/Mohancv2003/CCS-G15-Final_project

## Slide 19: References
Reference Papers, https://ieeexplore.ieee.org/Xplore/home.jsp
Damien Brulin, Yannick Benezeth, and Estelle Courtial, “Posture Recognition Based on Fuzzy Logic for Home Monitoring of the Elderly”, in IEEE TRANSACTIONS ON INFORMATION TECHNOLOGY IN BIOMEDICINE, VOL. 16, NO. 5, SEPTEMBER 2012
Biljana Cvetkoska, Ninoslav Marina, Dijana Capeska Bogatinoska, Zhanko Mitreski, “Smart Mirror E-health Assistant – Posture Analyze Algorithm” , in IEEE EUROCON 2017, 6–8 JULY 2017, OHRID, R. MACEDONIA
Jheanel Estrada, Larry Vea, “Sitting Posture Recognition for Computer Users using Smartphones and a Web Camera”, in Proc. of the 2017 IEEE Region 10 Conference (TENCON), Malaysia, November 5-8, 2017
Chia-Feng Juang, Chung-Wei Liang, Chiung-Ling Lee,I-Fang Chung, “Vision-based Human Body Posture Recognition Using Support Vector Machines” ,in 978-1-4673-2112-9/12/$31.00 ©2012 IEEE
Ling Xie, Xiao Guo, “Object Detection and Analysis of Human Body Postures Based on TensorFlow” , in 2019 IEEE International Conference on Smart Internet of Things (SmartIoT)
Mediapipe Documentation, https://pypi.org/project/mediapipe/
Sustainable Development Goals, https://sdgs.un.org/goals

## Slide 20: Project work mapping with SDG
SDG 3: Good Health and Well-being
Reduce premature mortality from non-communicable diseases through prevention and treatment and promote mental health and well-being.
Achieve universal health coverage, including access to quality essential health-care services.
SDG 9: Industry, Innovation, and Infrastructure
Enhance scientific research, upgrade technological capabilities of industrial sectors, and encourage innovation.
SDG 10: Reduced Inequalities
Empower and promote the social, economic, and political inclusion of all, irrespective of age, sex, disability, race, ethnicity, origin, religion or economic or other status.
SDG 11: Sustainable Cities and Communities
Reduce the adverse environmental impact of cities, particularly air quality and waste management.

## Slide 21
Thank You